# SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

Invitation to Bid HNS 26-1

##### NOTE: Contractors are not authorized to visit the property before or after the bid walk, without being accompanied by the City’s Rehabilitation Specialist.

Documents included in Package:

- Instruction to Bidders

- Specs by Location/Trade (Scope of Work)

- Subcontractor Certifications (if applicable)

- Floor Plan / Site Drawing (if applicable)

##### Bid Walk & Bid Opening:

| Project Address: 1324 Condon St Charlotte NC 28216 LEAD |  |
| --- | --- |
| Bid Walk: April 16,2026 |  |
| Bid Opening: April 23, 2026 |  |
| Client Name: George Moreland |  |
| Project Manager: Stephon Blanding | Contact Number: 704-622-1685 |

Bid Walk and Bidding Instructions:

All bid walks are mandatory.

If you are going to be late the policy is the following:

Contact me BEFORE the start time if you are going to be late. If you are going to be more than 10 minutes late, we will proceed without you and you will not be permitted to bid.

The day of a bid walk the best way to reach me is at 	704-622-1685

Bids must be received by the date, time and place specified. All others will be considered non responsive and disqualified.

The Bids will be opened at 600 East Trade St. immediately following the above due date and time.

# SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

Company Acknowledgement: The undersigned, having become thoroughly familiar with the terms, conditions, limitations, and provisions of the housing improvement work to be performed at _1324 Condon St Charlotte NC 28216 to be funded through the City of Charlotte Neighborhood & Business Services, in addition, having fully inspected the site in all particulars, hereby proposes and agrees to fully perform the work within the time stated and in strict accordance with the proposed contract documents including furnishing of any and all labor and materials, and to do all work required to complete said Work in accordance with the advised respective contractual, for the sum of money: All labor, materials, services and equipment necessary for the completion of the Work shown on the Drawings and in the Specifications: Dollars_($ )_ Written total

Specs Dated: 10*/8/2025 Number of Pages: 3

Addenda # 1 Dated: Number of Pages:

Addenda # 2 Dated: Number of Pages:

Project Schedule: Minimum Start Date -

Completion Deadline:

Please Print and Sign:

Company Name/Firm:

Authorized Representative Name:

Signature: Date:

# SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

### Requirements For Bidders

The City awards rehabilitation bids to the lowest responsive and responsible bidder. A responsible bidder for the safe home program is one who:

- Is a licensed general contractor in the State of North Carolina

- Has a Renovate, Repair & Paint Certification (http://www2.epa.gov/lead/renovation-repair-and-painting-program)

- Is not listed on a local, state or federal debarment list

- Carries an appropriate amount of insurance

- Can provide references verifying the contractor has completed work of a similar scope in a good workmanship like manner or successfully completed prior work for the Safe Home program. Referenced work must have been completed in one year or less from date of this invitation to bid.

A responsive bidder must:

- Submit all requested documentation on time

- Meet the above requirements for responsibility at the time of bid submittal

- Have the capacity to meet the required schedule for the project

- Existing rehab projects contracted by the contractor must be on schedule

The City reserves the right to waive any minor informalities or irregularities, which do not go to

the heart of the bid submittal or prejudice other offers, or to reject, for good and compelling reasons, any or all bid submittals.

Rehabilitation Specialist City of Charlotte

Neighborhood and Business Services 600 E. Trade St.

Charlotte, NC 28202 PH:

Fax:

# SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

### Instructions to Bidders

##### Explanations to Bidders

Any explanation desired by a Contractor regarding the meaning or interpretation of the advertisement for bids, drawings, specifications, etc., must be requested in writing to the Rehabilitation Specialist with sufficient time allowed for a reply to each Contractor before the submission of their bids. Any interpretation made will be in the form of an addendum to the invitation for bids, drawings, specifications, etc., and will be furnished to all prospective Contractors. The Contractor must acknowledge any revision to the bid documents in the space provided on the bid form and it must be submitted with their bid package.

##### Preparation of Bids

Bids shall be submitted on the forms furnished, or copies thereof, and must be manually signed. If erasures or other changes appear on the forms, the person signing the bids must initial each erasure or change

- The Contractor’s Bid Proposal must be properly executed and submitted on the form provided. Bids by Contractors must be received by the Rehabilitation Specialist at the time and place specified on the “Invitation to Bid”

- No bid will be considered unless all individual work items on the Bid Form including any addendums are priced. The sum of all work items must equal to the Total Bid Amount.

- Unless called for, alternate bids will not be considered

- Modification of bids already submitted will be considered if received at the office designated in the invitation for bids by the time set for opening of bids

##### Submittal of Bids

- Sealed bids will be submitted to the Safe Home Program Office as directed in the invitation to bid prior to or at the appointed bid opening time

- Bid will be time stamped on the date of delivery

- Each bid must be submitted in a sealed envelope bearing on the outside the name of the Contractor, the name of the project for which the bid is submitted, and the date and time of the bid opening

- All bids submitted must be typed or written in ink and signed by the Contractor's designated representative

- Failure to include all forms may result in rejection of a bid

- Required Bid Package Forms:

  - Scope of Work

  - Addenda Acknowledgement

# SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

  - Itemized Work Sheet

  - Subcontractor Certifications (if applicable)

##### Bid Validation

- All approved bids will be valid for 60 days after the bid opening date

HOUSING AND NEIGHBORHOOD SERVICES

http://housing.charlottenc.gov | 600 E. Trade Street | Charlotte, NC

City of Charlotte Housing and Neighborhood Services

600 E. Trade Street Charlotte, NC 28202

Address: 1324 Condon Street	Unit:  Unit 01

704-336-7600	10/23/2025

Location:	1 - Bedroom bk right	Approx. Wall SF: 0	Ceiling/Floor SF:	0

Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	35	Wall Coverings/Ceilings/Trim

1	0245

Prep & Paint Room Semi Gloss

Remove or cover hardware and accessories not to be painted. Scrape loose, peeling, cracked and blistered areas. Clean oil, grease, fungus, dirt, and dust from surfaces. Fill holes and cracks. Prime all new materials and spot prime existing with acrylic latex. Top coat with owner's choice of low VOC acrylic SEMI-GLOSS latex. Painting shall include walls and any associated trim. Replace or uncover hardware, fixtures and accessories. Any moving of furniture required shall be included.

1.00	EA

Location Total:

Location:	2 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 20 | Flooring |  |  |  |  |
| 2 0228 | Resilient Flooring | 100.00 | SF |  |  |
|  | Install 25 year warrantied resilient floor covering per manufacturer's specifications. Flooring material is to be vinyl interlocking planks and be waterproof. Include transitions and painted or stained wood quarter-round at all perimeters to complete installation. |  |  |  |  |

Location Total:

Location:	3 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:	0

Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	23	Electrical

Location:	3 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:	0

Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	23	Electrical

3	0178

Smoke Detector--Battery Powered

Install a battery powered smoke detector.

3.00	AL

Location Total:

Location:	4 - Bathroom	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 20 | Flooring |  |  |  |  |
| 4 0228 | Resilient Flooring | 1.00 | EA |  |  |
|  | Install 25 year warrantied resilient floor covering per manufacturer's specifications. Flooring material is to be vinyl interlocking planks and be waterproof. Include transitions and painted or stained wood quarter-round at all perimeters to complete installation. |  |  |  |  |
| Trade: 22 | Plumbing & Fixtures |  |  |  |  |
| 5 0224 | 17" Height Commode Replace | 1.00 | EA |  |  |
|  | Install a 17" height, 2 piece, close coupled, white, vitreous china commode with a maximum water usage per flush of 1.6 gallons. Include plastic or pressed wood white seat, supply pipe, shut-off valve, flap valve and wax seal. |  |  |  |  |

Location Total:

Location:	5 - Utility Room	Approx. Wall SF: 0	Ceiling/Floor SF:	0

Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	10	Carpentry

6	3175

DOOR--PREHUNG METAL ENTRANCE

Dispose of existing door and frame. Install a 1-3/4" six-panel, METAL door in a pine frame. Include interior and exterior casing, three 4"x 4" butt hinges, spring metal weatherstripping, an interlocking threshold, one entrance and one mortised deadbolt lockset keyed alike. Prime and topcoat with owner's choice of finish.

1.00	EA

Address: 1324 Condon Street	Unit:  Unit 01

Location Total:

Unit Total for 1324 Condon Street, Unit Unit 01:		 Address Grand Total for 1324 Condon Street:

Bidder:

### Scope of Work for Lead Hazard 1324 Condon St

Address :	1324 Condon St	Date: 7/7/2025

All work described must be performed by a North Carolina state certified lead firm and a state lead permit is required. All work must comply with all applicable federal, state, and local regulations. Provide a separate price for each line item and add the total of line items at the end of the scope. Transfer the lead scope total to the lead control line item in the main scope of work.

| Lead Hazard (from LIRA) | Method of Control and Scope of Work | Number | Unit Cost | Line Item Cost |
| --- | --- | --- | --- | --- |
| Contractor requirement | The contractor is responsible for all project requirements, including but not limited to: Obtaining all permits required. Said permits shall include all items in this scope of work. Provide temporary toilet facilities from job start until the completion of work. Provide AS MANY roll-off dumpsters as needed without damaging the site. Collect construction debris using dust control methods. Remove dumpsters and repair any evidence of the dumpster use. Contractor may haul debris away daily using dump trailers or trucks. |  |  |  |
| Exterior |  |  |  |  |

1

| Side A through Side D – white wood walls, drip boards and trim boards | 1/Cover with Tyvek and aluminum or vinyl. |  |  |  |
| --- | --- | --- | --- | --- |
| Side A through Side D – white wood fascias, soffits, crown moldings and trim boards and attic air vents and frames | 1/REPLACE rotted wood (numerous locations) and cover with Tyvek and aluminum or vinyl. |  |  |  |
| Side A through Side D – white wood window casings, headers, sills and lintels | Cover with Tyvek and aluminum |  |  |  |
| Side A – red metal window shutters | Replace |  |  |  |
| Side C Entry – white wood entry ceiling and trim boards | REPLACE rotted wood (numerous locations) and cover with Tyvek and aluminum or vinyl |  |  |  |
| Door C1 (to Room 3) – white wood trim board (former header board) and lintel | Cover with Tyvek and aluminum or vinyl. |  |  |  |
| Closet Door C2 – white wood trim board (former header board) and lintel | Cover with Tyvek and aluminum or vinyl. |  |  |  |
| INTERIOR |  |  |  |  |

2

| Room 1 – Side C – white wall | Scrape loose paint and re-paint. |  |  |  |
| --- | --- | --- | --- | --- |
| Room 1 – Side A through Side D and Ceiling – white wood ceiling, crown moldings, ceiling support beams and trim boards | Scrape loose paint and re-paint. |  |  |  |
| Room 4 – Bath – Side A through Side D – UNPAINTED gray ceramic tile baseboards (lead likely contained within the matrix of the tile or in the tile glaze) | No work required at this time. 2/Remove under full containment. |  |  |  |
| Room 4 – Bath – Side A through Side D – UNPAINTED gray ceramic tile shower/tub walls (lead likely contained within the matrix of the tile or in the tile glaze) | Remove under full containment |  |  |  |
| Specialized cleaning |  |  |  |  |

3

Total Bid for Lead Scope $