SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

Invitation to Bid		HNS 26-17

NOTE: Contractors are not authorized to visit the property before or after the bid walk, without being accompanied by the City’s Rehabilitation Specialist.

Documents included in Package:

- Instruction to Bidders

- Specs by Location/Trade (Scope of Work)

- Subcontractor Certifications (if applicable)

- Floor Plan / Site Drawing (if applicable)

Bid Walk & Bid Opening:

| Project Address: 3216 Maywood Dr. |  |
| --- | --- |
| Bid Walk: 6/17/2026 @ 10am |  |
| Bid Opening: 6/24/2026 @ 3pm |  |
| Client Name: Robert Argenio |  |
| Project Manager: Chris Lominick | Contact Number: 704-589-6006 |

Bid Walk and Bidding Instructions:

All bid walks are mandatory.

If you are going to be late the policy is the following:

Contact me BEFORE the start time if you are going to be late. If you are going to be more than 10 minutes late, we will proceed without you and you will not be permitted to bid.

The day of a bid walk the best way to reach me is at  _704-589-6006_____________

Bids must be received by the date, time and place specified. All others will be considered non responsive and disqualified.

The Bids will be opened at 600 East Trade St. immediately following the above due date and time.

SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

Company Acknowledgement: The undersigned, having become thoroughly familiar with the terms, conditions, limitations, and provisions of the housing improvement work to be performed at _3216 Maywood Dr.______ to be funded through the City of Charlotte Neighborhood & Business Services, in addition, having fully inspected the site in all particulars, hereby proposes and agrees to fully perform the work within the time stated and in strict accordance with the proposed contract documents including furnishing of any and all labor and materials, and to do all work required to complete said Work in accordance with the advised respective contractual, for the sum of money: All labor, materials, services and equipment necessary for the completion of the Work shown on the Drawings and in the Specifications: ________________________________________________________Dollars_($___________)_ Written total

Specs Dated: 5/27/2026 Number of Pages: 21

Addenda # 1 Dated: Number of Pages:

Addenda # 2 Dated: Number of Pages:

Project Schedule: Minimum Start Date -

Completion Deadline:

Please Print and Sign:

Company Name/Firm:

Authorized Representative Name:

Signature: Date:

Requirements For Bidders

SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

The City awards rehabilitation bids to the lowest responsive and responsible bidder. A responsible bidder for the safe home program is one who:

- Is a licensed general contractor in the State of North Carolina

- Has a Renovate, Repair & Paint Certification (http://www2.epa.gov/lead/renovation-repair-and-painting-program)

- Is not listed on a local, state or federal debarment list

- Carries an appropriate amount of insurance

- Can provide references verifying the contractor has completed work of a similar scope in a good workmanship like manner or successfully completed prior work for the Safe Home program. Referenced work must have been completed in one year or less from date of this invitation to bid.

A responsive bidder must:

- Submit all requested documentation on time

- Meet the above requirements for responsibility at the time of bid submittal

- Have the capacity to meet the required schedule for the project

- Existing rehab projects contracted by the contractor must be on schedule

The City reserves the right to waive any minor informalities or irregularities, which do not go to

the heart of the bid submittal or prejudice other offers, or to reject, for good and compelling reasons, any or all bid submittals.

Rehabilitation Specialist

Chris Lominick

City of Charlotte

Neighborhood and Business Services

600 E. Trade St.

Charlotte, NC 28202

PH: 704-589-6006

Email: chris.lominick@charlottenc.gov

Instructions to Bidders

Explanations to Bidders

Any explanation desired by a Contractor regarding the meaning or interpretation of the advertisement for bids, drawings, specifications, etc., must be requested in writing to the Rehabilitation Specialist with sufficient time allowed for a reply to each Contractor before the submission of their bids. Any interpretation made will be in the form of an addendum to

SAFE HOME

CITY OF CHARLOTTE

Housing and Neighborhood Services

the invitation for bids, drawings, specifications, etc., and will be furnished to all prospective Contractors.  The Contractor must acknowledge any revision to the bid documents in the space provided on the bid form and it must be submitted with their bid package.

Preparation of Bids

Bids shall be submitted on the forms furnished, or copies thereof, and must be manually signed. If erasures or other changes appear on the forms, the person signing the bids must initial each erasure or change

- The Contractor’s Bid Proposal must be properly executed and submitted on the form provided.  Bids by Contractors must be received by the Rehabilitation Specialist at the time and place specified on the “Invitation to Bid”

- No bid will be considered unless all individual work items on the Bid Form including any addendums are priced.  The sum of all work items must equal to the Total Bid Amount.

- Unless called for, alternate bids will not be considered

- Modification of bids already submitted will be considered if received at the office designated in the invitation for bids by the time set for opening of bids

Submittal of Bids

- Sealed bids will be submitted to the Safe Home Program Office as directed in the invitation to bid prior to or at the appointed bid opening time

- Bid will be time stamped on the date of delivery

- Each bid must be submitted in a sealed envelope bearing on the outside the name of the Contractor, the name of the project for which the bid is submitted, and the date and time of the bid opening

- All bids submitted must be typed or written in ink and signed by the Contractor's designated representative

- Failure to include all forms may result in rejection of a bid

- Required Bid Package Forms:

  - Scope of Work

  - Addenda Acknowledgement

  - Itemized Work Sheet

  - Subcontractor Certifications (if applicable)

Bid Validation

- All approved bids will be valid for 60 days after the bid opening date

NEIGHBORHOOD & BUSINESS SERVICES

http://housing.charlottenc.gov | 600 E. Trade Street | Charlotte, NC

City of Charlotte Housing and Neighborhood Services

600 E. Trade Street Charlotte, NC 28202

704-336-7600	4/29/2026

Location:	1 - General Requirements	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

| Trade: | 1 | General Requirements |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 07 | All Contractor's Project Requirements | 1.00 | EA |  |  |
|  |  | The contractor is responsible for all project requirements, including but not limited to: |  |  |  |  |
|  |  | Obtaining all permits required. Said permits shall include all items in this scope of work. |  |  |  |  |
|  |  | Provide temporary toilet facilities from job start until the completion of work. |  |  |  |  |
|  |  | Provide AS MANY roll-off dumpsters as needed without damaging the site. Collect construction debris using dust control methods. Remove dumpsters and repair any evidence of the dumpster use. |  |  |  |  |
|  |  | Contractor may haul debris away daily using dump trailers or trucks. |  |  |  |  |
| 2 | 09 | House Number | 1.00 | EA |  |  |
|  |  | Install brass, aluminum, or iron house numbers with nails. Numbers must be 4 inches tall with a stroke-width of 1/2 inch per Code. Numbers are not permitted to be plastic or stickers. |  |  |  |  |
| 3 |  | Lead Scope | 1.00 | EA |  |  |
|  |  | See attached lead scope. |  |  |  |  |

Trade:	4	Site Work

Address: 3216 Maywood Drive

4	016

###### Exterminate Termites

Exterminate for termites. Drill and patch foundation and pavement where necessary. Exterminator must be licensed and provide a 1 year guarantee with an optional yearly renewable warranty for the homeowner.

1.00	EA

Location:	1 - General Requirements	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	22	Plumbing & Fixtures

5	7110

###### DRYER VENT

Replace damaged dryer vent cover on right wall D

1.00	EA

##### Location Total:

Location:	2 - Attic	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 35 | Wall Coverings/Ceilings/Trim |  |  |  |  |
| 6 0261 | ATTIC ACCESS | 1.00 | EA |  |  |
|  | Frame a Code legal size attic access in the ceiling at the location designated by the rehab specialist. |  |  |  |  |
|  | Trim with 2 ¼” casing and install a ½” primed and painted drywall or plywood panel. Install continuous foam insulation around the perimeter of the panel where it rests on the casing. Glue an R-38 insulation batt cut to size on the top of the panel. |  |  |  |  |
|  | Install a wooden or plywood dam around the access hatch high enough to hold back R-38 insulation. Repair all ceiling damage caused by work. |  |  |  |  |

###### Trade:	36	Insulation

7	0266

###### ATTIC INSULATION

Remove home owner items stored in attic and dispose of properly.

Install a wooden or plywood dam around the access hatch high enough to hold back R-38 insulation.

Install continuous foam insulation around the perimeter of the panel where it rests on the casing. Glue an R-38 insulation batt cut to size on the top of the panel.

Install ventilation baffles per the Building Code.

Install insulation depth markers readily visible from the attic access hatch.

Blow in insulation to increase R value to R-38.

Attach insulation certificate to rafter at attic access, positioned to be easily seen.

Install sealed insulated cover over the attic access

816.00	SF

##### Location Total:

Location:	3 - General Requirements	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

Location:	3 - General Requirements	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 23 | Electrical |  |  |  |  |
| 8 0174 | UPGRADE ELECTRICAL SYSTEM | 1.00 | EA |  |  |
|  | Upgrade the electrical system to comply with all requirements of the current NC Electrical Code. This includes but is not limited to: |  |  |  |  |
|  | *other existing wiring may be re-used provided it is in full compliance with the Electrical Code |  |  |  |  |
|  | *Replace electrical service with new 110/220 volt, 200 amp panel with main disconnect and 24 circuit panel board; meter socket; weather head; service cable; and ground rods and cable. Caulk exterior service penetrations. Label circuits legibly. Replacement of all sub-panels is included. |  |  |  |  |
|  | *Install GFCI breakers on all two wire receptacle circuits. Install GFCI/AFCI breakers on all two wire bedroom receptacle circuits. Label outlets per Code requirements. |  |  |  |  |
|  | *install new wiring, outlets, and devices as necessary to comply with the Electrical Code or to service existing equipment or to power items and equipment added to the structure by other items in this scope of work. |  |  |  |  |
|  | *scope includes installation of smoke and CO detectors as required by the Electrical Code |  |  |  |  |
|  | *scope includes GFCI devices at Code required locations. |  |  |  |  |

##### Location Total:

Location:	4 - General Requirements	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	21	HVAC

9	0130

###### REPLACE DUCTWORK

Remove all elements (including boots and vent covers) of the existing ductwork system and dispose of properly.

Design a new ductwork system using Manual D calculations based on the design specifications of the equipment to be used and the room by room Manual J calculations. Include vent covers for each room and return.

Ductwork shall be insulated to R-8 and all joints in the air delivery system shall be mastic sealed.

Provide all calculations and specifications to the rehab specialist for review and approval.

Install the new ductwork system per the approved design, meeting all requirements of the NC Mechanical Code and the Construction Specifications.

1.00	EA

Location:	4 - General Requirements	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 21 | HVAC |  |  |  |  |
|  | Existing vent locations may be used provided they are compatible with the approved duct system design. If any existing vent locations are to be abandoned, the existing vent cover may be left in place. However, the penetration of the building envelope must be effectively sealed to restore the integrity of the envelope and to prevent the exchange of air and temperature between conditioned and unconditioned spaces. |  |  |  |  |
|  | When new vent locations are added, they shall be cut in accurately and neatly and the penetration of the building envelope shall be effectively sealed. |  |  |  |  |
| 10 0131 | HEATING AND AIR CONDITIONING EQUIPMENT INSTALL | 1.00 | AL |  |  |
|  | **Converting from gas furnace to heat pump**Remove all existing HVAC equipment and dispose of properly. |  |  |  |  |
|  | Perform Manual J calculations for the house room by room that account for all changes included in the scope of work. |  |  |  |  |
|  | Use Manual S to select the proper equipment for the house. Provide Manual J and S calculations and design specifications for the selected equipment to the rehab specialist for review and approval. |  |  |  |  |
|  | Heat Pump Install the approved split system heat pump at the existing locations. |  |  |  |  |
|  | Install the equipment complete with all devices, connections, refrigerant, and accessories necessary to produce a fully functioning HVAC system meeting all the requirements of the NC Mechanical and Electrical Codes as well as the Construction Specifications. |  |  |  |  |
|  | Install a new digital programmable thermostat. Scope of work includes all repairs to the structure and finish surfaces that are necessary due to the removal of the old system and the installation of the new system. |  |  |  |  |
|  | Scope of work includes start up and testing of the new system, including demonstrating to the customer how to operate the thermostat and change the return air filter. |  |  |  |  |
|  | Provide rehab specialist with all installation manuals, user manuals, and warranty documentation. |  |  |  |  |

##### Location Total:

Location:	5 - Exterior	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	30	Exterior Carpentry & Wall Framing

11	045

###### Vinyl Soffit & Aluminum Fascia

150.00	LF

Location:	5 - Exterior	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	30	Exterior Carpentry & Wall Framing

Install vented vinyl soffit to roof edges, ensuring existing soffit is opened up to allow attic ventilation. Install solid vinyl soffit to all gable overhangs. Wrap all fascia and wood trim with PVC coated aluminum coil stock. Include any wood repair or work required to prepare existing soffit and fascia for vinyl and aluminum covering.

12	054

###### Exterior Siding Repair/Replacement

Wrap exposed gable ends in Tyvek and cover in vinyl.

1.00	AL

###### Trade:	33	Porch/Columns/Railings

13	077

Prep and Paint Porch Rails **Front and Rear** Prep and paint the porch railings per the Construction Standards.

1.00	EA

###### Trade:	38	Stairs/Steps

14	0287

###### Secure Wrought Iron Railing **Front and Rear Porch**

Remove existing railing, repair anchor points as necessary and reinstall securely to meet the railing requirements of the Building Code.

1.00	EA

Location:	6 - Exterior	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	23	Electrical

15	0166

###### Light Fixture Exterior

Iinstall a UL approved, LED flood light fixture at middle front soffit, front left corner, rear left corner and rear right corner of soffit. Existing wiring may be used if it is NC electrical code compliant

4.00	EA

Location:	7 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:  0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 22 | Plumbing & Fixtures |  |  |  |  |
| 16 0223 | Double Bowl Sink Complete | 1.00 | EA |  |  |
|  | Install a 18 gauge 33" x 22" x 8" double bowl, stainless steel, self rimming kitchen sink including a single handle metal body faucet, rated at 2.0 GPM or less, with a 15 year drip- free warranty, P-trap, supply lines, full port ball type shut-off valves & escutcheon plates on all supply & drain lines. No copper compression fittings. |  |  |  |  |

Location:	8 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	20	Flooring

17	0228

###### Resilient Flooring

Install 25 year warrantied resilient floor covering per manufacturer's specifications. Flooring material is to be vinyl interlocking planks and be waterproof. Include transitions and painted or stained wood quarter-round at all perimeters to complete installation.

144.00	SF

| Trade: | 37 | Appliances-Cabinets-Accessories |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 18 | 0272 | Base Cabinets | 1.00 | EA |  |  |
|  |  | **Kitchen is being reconfigured due to previous removal of a wall that separated the kitchen from the living room, note new cabinets to left and right of stove and new refrigerator location to right of kitchen sink** Replace existing base cabinets and add 2 single cabinets to the left and right of new stove location, the new cabinet to the right of the stove shall be installed with its right side against the rear wall (the new stove location will be on the left wall). Cabinets to be constructed of solid maple and plywood. No particle board allowed. See contractor's manual guidelines & specifications for full requirements. |  |  |  |  |
| 19 | 0273 | Counter Tops Replace | 1.00 | EA |  |  |
|  |  | **Kitchen is being reconfigured due to previous removal of a wall that separated the kitchen from the living room, note new cabinets to left and right of stove and new refrigerator location to right of kitchen sink** Screw to base cabinet a square edged plastic laminate counter top. Provide end-caps and cutout for sink. Caulk counter top to adjoining walls with low VOC caulking to match wall color. Owner's choice of in-stock color and texture. |  |  |  |  |
| 20 | 0274 | Wall Cabinets | 1.00 | EA |  |  |
|  |  | **Kitchen is being reconfigured due to previous removal of a wall that separated the kitchen from the living room, note new cabinets to left and right of stove and new refrigerator location to right of kitchen sink** Replace existing wall cabinets and add wall cabinets above and to right and left of new stove location (stove will be relocated to the left wall). Cabinets are to be constructed of solid maple and plywood. No particle board allowed. See contractor's manual guidelines & specifications for full requirements. |  |  |  |  |

Location:	9 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	23	Electrical

| 21 | 0148 | Light Fixture Replace | 1.00 | EA |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Replace or install a ceiling mounted 2 bulb or wall mounted 4 bulb strip, UL approved, LED light fixture with shade and lamps. |  |  |  |  |

Location:	10 - Kitchen	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	21	HVAC

| 22 | 0127 | Range Hood Exterior Vented | 1.00 | AL |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Install an exterior ducted enameled range hood with integral controls and light capable of 100 cfm at 70 sones. Attach hood to cabinet with screws. Include metal vent and roof or wall |  |  |  |  |

cap/damper assembly, using #14 copper Romex. Owner's choice of color.

Location:	11- Living Room	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 10 | Carpentry |  |  |  |  |
| 23 | Wall Removal and Repair | 1.00 | EA |  |  |
|  | Finish removing remnants of old wall framing between the kitchen, living room and hallway. Include wall repair and trim work needed because of the wall removal. Also include any floor preperatiion needed to make existing floor ready for new LVP flooring. |  |  |  |  |
| Trade: 20 | Flooring |  |  |  |  |
| 24 0228 | Resilient Flooring | 140.00 | SF |  |  |
|  | Install 25 year warrantied resilient floor covering per manufacturer's specifications. Flooring material is to be vinyl interlocking planks and be waterproof. Include transitions and painted or stained wood quarter-round at all perimeters to complete installation. |  |  |  |  |

Location:	12 - Living Room	Approx. Wall SF: 0	Ceiling/Floor SF:  0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	23	Electrical

Location:	12 - Living Room	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	23	Electrical

25	0148

###### Light Fixture Replace

Replace or install a ceiling mounted 2 bulb or wall mounted 4 bulb strip, UL approved, LED light fixture with shade and lamps.

1.00	EA

##### Location Total:

Location:	13 - Hall	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 20 | Flooring |  |  |  |  |
| 26 0228 | Resilient Flooring | 36.00 | SF |  |  |
|  | Install 25 year warrantied resilient floor covering per manufacturer's specifications. Flooring material is to be vinyl interlocking planks and be waterproof. Include transitions and painted or stained wood quarter-round at all perimeters to complete installation. |  |  |  |  |

Location:	14 - Hall	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	23	Electrical

| 27 | 0148 | Light Fixture Replace | 1.00 | EA |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Replace or install a ceiling mounted 2 bulb or wall mounted 4 bulb strip, UL approved, LED light fixture with shade and lamps. |  |  |  |  |

Location:	15 - Bedroom Rear Left	Approx. Wall SF: 0	Ceiling/Floor SF:  0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	23	Electrical

28	0148

###### Light Fixture Replace

Replace or install a ceiling mounted 2 bulb or wall mounted 4 bulb strip, UL approved, LED light fixture with shade and lamps.

1.00	EA

Location:	16 - Bedroom Front	Approx. Wall SF: 0	Ceiling/Floor SF:  0

Location:	16 - Bedroom Front	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

Trade:	23	Electrical

| 29 | 0148 | Light Fixture Replace | 1.00 | EA |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Replace or install a ceiling mounted 2 bulb or wall mounted 4 bulb strip, UL approved, LED light fixture with shade and lamps. |  |  |  |  |

Location:	17 - Entire Interior	Approx. Wall SF: 0	Ceiling/Floor SF:	0

Spec #	Spec	Quantity	Units	Unit Price	Total Price

| Trade: | 35 | Wall Coverings/Ceilings/Trim |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 30 | 0243 | Baseboard Install | 1.00 | EA |  |  |
|  |  | Install wooden baseboards free of surface defects, fastened with finished nails, properly set and puttied. Repair work should match existing. |  |  |  |  |
| 31 | 0248 | Drywall ceiling and walls in entire house | 1.00 | EA |  |  |
|  |  | Remove all existing drywall, ceiling tiles and crown moulding. Install new drywall to ceiling and walls in entire housel. Apply tape and 3 coats of joint compound to achieve a professional finish. Wet sand ready for paint.Drywall thickness shall comply with North Carolina Residential Building Code. Insulation to be installed in compliance with North Carolina Residential Building Code.Re-install crown moulding in room 6 **Removal of drywall not necessary in room 6, tape and finish existing drywall** |  |  |  |  |
| 32 | 0250 | Prep & Paint Entire Interior Except Brown Paneling in | 1.00 | EA |  |  |
|  |  | Room 6 |  |  |  |  |
|  |  | Remove or cover hardware and accessories not to be painted. Scrape loose, peeling, cracked and blistered areas. Clean oil, grease, fungus, dirt and dust from surfaces. Fill/repair holes and cracks. Prime all new materials and spot prime existing with acrylic latex. Top coat with owner's choice of low VOC acrylic FLAT latex in all habitable rooms and low VOC acrylic SEMI-GLOSS latex in kitchen and baths. Replace or uncover hardware, fixtures and accessories. Any moving of furniture required shall be included.** include all ceilings** **exclude the brown panelling in room 6** |  |  |  |  |

Location:	18 - Sun Porch	Approx. Wall SF: 0	Ceiling/Floor SF:  0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	23	Electrical

33	0148

###### Light Fixture Replace

Replace or install a ceiling mounted 2 bulb or wall mounted 4 bulb strip, UL approved, LED light fixture with shade and lamps.

1.00	EA

Location:	19 - Bathroom	Approx. Wall SF: 0	Ceiling/Floor SF:	0

###### Spec #	Spec	Quantity	Units	Unit Price	Total Price

###### Trade:	21	HVAC

34	0118

###### Bath Exhaust Fan/Combination Light Fixture

Install a ceiling or through-the-wall, exterior ducted, vent fan with damper with combination light fixture. Include power and switch wiring using #14 copper Romex. Repair any tear out.

1.00	EA

Location:	20 - Bathroom	Approx. Wall SF: 0	Ceiling/Floor SF:	0

| Spec # | Spec | Quantity | Units | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| Trade: 22 | Plumbing & Fixtures |  |  |  |  |
| 35 0224 | 17" Height Commode Replace | 1.00 | EA |  |  |
|  | Install a 17" height, 2 piece, close coupled, white, vitreous china commode with a maximum water usage per flush of 1.6 gallons. Include plastic or pressed wood white seat, supply pipe, shut-off valve, flap valve and wax seal. |  |  |  |  |
| 36 6900 | VANITY- COMPLETE | 1.00 | EA |  |  |
|  | Remove existing vanity and install a plywood vanity; including top with backsplash, wash bowl and single lever brass bodied chrome faucet with a maximum 1.5 GPM flow rate. Include PVC drain attached to a code legal plumbing vent, use type L copper or PEX supply piping with brass bodied stops on all supply lines. Seal all penetration through the floor, walls and cabinet for plumbing connections using expanding foam or caulk and cover with chrome escutcheon plates. Cabinets must comply with California 93120 (formaldehyde content) or all exposed edges must be sealed with a low-VOC sealant. Dimensions of new sink and vanity to be same or similar as old vanity. |  |  |  |  |

###### Trade:	35	Wall Coverings/Ceilings/Trim

37

###### Bathroom Mirror

Remove and re-install existing mirror above vanity in bathroom to accommodate installation of new drywall

1.00	EA

Address Grand Total for 3216 Maywood Drive:

# Scope of Work for Lead Hazard Control

#### Address	3216 Maywood Dr.	Date 5/27/2026

All work described must be performed by a North Carolina state certified lead firm and a state lead permit is required. All work must comply with all applicable federal, state, and local regulations. Provide a separate price for each line item and add the total of line items at the end of the scope. Transfer the lead scope total to the lead control line item in the main scope of work.

| Lead Hazard (from LIRA) | Method of Control and Scope of Work | Line Item Cost |
| --- | --- | --- |
| Exterior |  |  |
| Side A through Side D – light brown shake siding (most exists under vinyl siding and some exposed) | Remove all old vinyl siding then cover wood siding with Tyvek and new vinyl or aluminum. |  |
| Side A through Side D – white wood window casings, headers, sills, sashes and wells including Window C3 covered with plywood (Note: Window A1, Window A2, Window D2 and Window D3 are vinyl.) | Remove old windows and replace window sashes and wells with vinyl windows and cover window casings, headers and sills with Tyvek and aluminum. 9 windows (Do not replace window A1, A2, D2 and D3) Remove window C4 in the bathroom that is covered by the tub surround then insulate, frame and cover the opening with OSB, Tyvek and vinyl. |  |
| Side D – white wood crawlspace door frame and door | Remove and replace old crawlspace door and frame |  |
| Side D (adjacent to Window D2) – white wood vertical trim board | Cover with Tyvek and aluminum or vinyl |  |

| Door A1 (to Room 1) – white wood door, casings, header, jambs, stops and threshold | Remove old door and replace door, jambs, stops and threshold with a new Energy Star rated pre-hung metal exterior door with window pattern similar to existing door or owner's preference. Apply primer and topcoat. Insulate cavity. Install mortised dead bolt and lever handled door hardware keyed alike. and cover door casings and header with Tyvek and aluminum. Include removal and replacement of existing storm door. |  |
| --- | --- | --- |
| Door C1 (to Room 5) – white wood door, casings, header, jambs, stops and threshold | Remove old door and replace door, jambs, stops and threshold with a new Energy Star rated pre-hung metal exterior door with window pattern similar to existing door or owner's preference. Apply primer and topcoat. Insulate cavity. Install mortised dead bolt and lever handled door hardware keyed alike. and cover door casings and header with Tyvek and aluminum. Include removal and replacement of existing storm door. |  |

| Storage Closet Door C2 – white wood door, casings, header, jambs and stops | Remove old door and replace door, jambs, stops and threshold with a new Energy Star rated pre-hung metal exterior door. Apply primer and topcoat. Insulate cavity. Install mortised dead bolt and lever handled door hardware keyed alike. and cover door casings and header with Tyvek and aluminum. |  |
| --- | --- | --- |
| Interior |  |  |
| Room 6 – Side C – EXPOSED white wood siding (behind natural wood paneling – may exist behind natural wood paneling on Side B) | Replace or cover in Tyvek and wall board or wood panel |  |
| Room 6 – Door B1 – white wood threshold | Remove existing and replace |  |
| Room 6 – Closet C1 – light brown/gray shake siding on left wall (former exterior siding) | Cover with Tyvek and wallboard or wood panel. |  |
| Room 3 – Window B1 and Window C1 – black and white vinyl mini-blinds (lead contained within the matrix of the vinyl) | Remove and dispose of properly |  |
| Elevated lead dust levels throughout house | Complete specialized cleaning throughout house. |  |

|  | Total Lead Scope Cost |  |
| --- | --- | --- |

New Kitchen Layout